## Bridge Meter CO TX NM_Script
Test Case/Script Name | Test Case/Script Description | Application | Test Type | Test Case Precondition | Test Case Expected Result | Test Script Step: User Action | Test Script Step: Expected Result
AMIW9_FG9_04.03.01.02.11.12_001 Interval Data Available Report | 04.03.01.02.11.09.FR02 IEE 10.x shall have Interval data available reports driven by group of meters by cycle. 04.03.01.02.11.12.FR10 The Interval Data Available Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Interval Data Available Report generated Weekly for the meter converted from IEE8.2 to IEE10.X for the Service Point IDs that were intended for testing with the following fields inside the report: Report start date, report end date, and time zone Service point description Service point channel number UOM Start/end date Recording device ID Source meter ID Account number Customer ID and name Route Premise Formula are available driven by group of meters by cycle.
AMIW9_FG9_04.03.01.02.11.12_002 Coincident/Noncoincident Peak report | 04.03.01.02.11.09.FR01 The Coincidental, Non-Coincidental Peak Report shall work for formula channels and dynamic groups set up for customers converted from IEE 8.2 to IEE 10.x 04.03.01.02.11.12.FR19 The Coincident/Noncoincident Peak report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 CO Static group in IEE 10.x Meter Type: Non-AMI Bridge meter meter Meter Model: I2H Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO Static group in IEE 8.2 Meter Type: Non-AMI Bridge meter meter Meter Model: I2H Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Coincident/Noncoincident Peak Report generated Daily and the report provides interval-by-interval demand, consumption, and pulse data for each contributor to an aggregated channel. Report Path: Meter Data Managment/Reports/Analytical Reports
AMIW9_FG9_04.03.01.02.11_003 Commercial Ops Report for Customers converted from IEE 8.2 to IEE 10.x | 04.03.01.02.11.12.FR13 The Commercial Ops Report shall be built in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Meter State: Active Consumption Type: Commercial 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Consumption Type: Commercial | Validate successful interval data available report for a specified list of commercial customers converted from IEE 8.2 to IEE 10.x. Report should be generated every Saturday at 2:00 PM mountain time. The report provides: -A Data Driven Schedule (DDS) wherein Occurrences is set up to run every Saturday at 2:00 PM Mountain Time. -An MV90 Spreadsheet Export task in IEE 10.x, runs on a weekly basis -KWh interval readings with passed, manually accepted or warn reading statuses -Raw readings would be rounded up to 4 decimals -The list of service point IDs being run under this schedule would then be added to the Cycle Data. -Would contain interval readings from the seed time (last export date) up to the next scheduled occurrence. Report path: \\fsmcplc11\SPF\PSCO\PSCO_ImportExport\Test\Adapt2\IEEFiles\CommOps
AMIW9_FG9_04.03.01.02.11.12_004 Engineering Units Report | 04.03.01.02.11.12.FR07 The Engineering Units Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. The result should be the same in 10.x as they were in 8.2 | IEE | Functional | 1 CO Dynamic group in IEE 10.x Meter Type: Non-AMI Bridge meter meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO Dynamic group in IEE 8.2 Meter Type: Non-AMI Bridge meter meter Meter Phase: Single Consumption Type: Residential | Validate successful Engineering report Designed for use by Commercial & Industrial implementations, shows engineering unit quantities of demand, consumption, or pulses for selected interval channels. The report provides: The daily high, daily low, and daily total or average in engineering units for each channel for the selected time period. Load Factor is calculated for kWh channels. Report Path: Meter Data Managment/Reports/Analytical Reports/Engineering Units
AMIW9_FG9_04.03.01.02.11.11._005 Cycle Due Date Report | 04.03.01.02.11.11.FR01 The Cycle Due Date Report shall be enabled in MV90xi for customers converted from IEE 8.2 to IEE 10.x | IEE | Functional | 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Consumption Type: Residential | Validate Cycle Due Date report that is designed for use by C&I implemintation. The report returns all service point channels for the following items: Retrieved on cycles during a specified date range, but which do not have the expected data. Exported on cycle during a specified date range, but which did not have the data exported. Aggregated on cycle during a specified date range, but for which data was not aggregated. Report Path: Meter Data Managment/Reports/Analytical Reports/ Cycle Due Date
AMIW9_FG9_TX_04.03.01.02.11.12_006 KVA conversion | 04.03.01.02.11.12.FR08 The KVA Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | TX premise with active KVAR 1 TX legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Meter State: Active Consumption Type: Residential 1 TX legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Consumption Type: Residential | Validate that the KVA reports are designed for use by C&I implementations. Reports provide: Interval-by-interval daily, detail, or peak summary report. Using the channels assigned to the KVA report group, the report displays kW, KVAR, KVA, Power Factor, Volts, or Amps. You can also select whether to apply losses to the standard report columns, show losses in separate columns, or both. Report Path: Meter Data Managment/Reports/Analytical Reports/KVA report
AMIW9_FG9_CO_04.03.01.02.11.12_007 TOU Report | 04.03.01.02.11.12.FR09 The TOU Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | CO premise with TOD definition 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Meter State: Active Consumption Type: Residential Rate: RETOU 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Consumption Type: Residential Rate: RETOU | Validate TOU Reports are designed for use by all interval meter implementations. Report provides: consumption and demand by Time of Use (TOU) period for interval data. Report Path: Meter Data Managment/Reports/Analytical Reports/Time Of Use
AMIW9_FG9_04.03.01.02.11.12_008 Data Summary Report | 04.03.01.02.11.12.FR11 The Data Summary Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 NM legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Meter State: Active Consumption Type: Residential 1 NM legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Consumption Type: Residential | Report: Data Summary Report Purpose: Provides a summary of the various translation actions performed on individual IEE data files. It can run for a single service point channel, a reading group, or a date range. Specifying a date range provides data on only those reading groups that contain the dates you set, while leaving the date range blank results in a report on all data for the specified service point channel or reading group. If IEE runs the export template on-cycle, then the report displays the most recently run export template (organized by service point channel). However, IEE does not display the export template for manually generated exports. Supported export template types include MV-90 Mainframe Export, MV-90 Spreadsheet Export, and Lodestar Enhanced Export Frequency: Daily? Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report Validate: -Export template types include MV-90 Mainframe Export, -MV-90 Spreadsheet Export, -Lodestar Enhanced Export.
AMIW9_FG9_04.03.01.02.11.12_009 Interval Statuses Report | 04.03.01.02.11.12.FR11 The Interval Statuses Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 NM legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Consumption Type: Residential | Validate Interval Statuses Report is designed for use by all meter implementations. Report shows: -This report is design to work for all meter implementations. The report shows the interval and/or validation status of interval data within the requested date range. -This report is designed to function as a spot report for a single service point or a small group of service points (<100). Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report
AMIW9_FG9_04.03.01.02.11.12_010 PFRS process | 04.03.01.02.11.12.FR06 The PFRS process shall be replicated in IEE 10.x 04.03.01.02.11.12.FR02 Interval data exports in .csv format for legacy non-AMI meters converted from IEE 8.2 to IEE 10.x shall be produced based on the CRS input file | IEE | Functional | 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Consumption Type: Residential | Validate that 9 reports for PFRS are generated, summarizing usage and how the customer is performing compared to the parameters of their rates. Report provides: -An input file from CRS for debtors or premises that are needing review will be created. The reports are generated from this file. -The PFRS process is executed once per year in the late October timeframe. -The PFRS is a mostly automated process. Only two initial steps are executed manually. -The process is really only 2 scripts, one PowerShell scripts and one perl script that each exist on the IEE server in F:\SPF\PowerShellScripts -The same IEE 8.2 batch script replicatred in IEE 10.x will be used to generate the 9 reports that are part of the PFRS process -The csv file(s) must be accessible for download by IEE support team -As meters are exchanged to AMI meters, this process will still apply Required for yearly PFRS process The csv file(s) must be accessible for download by IEE support team As meters are exchanged to AMI meters, this process will still apply
AMIW9_FG9_04.03.01.02.11.14._011 IEE Reconciliation Report | 04.03.01.02.11.14.FR01 Customers converted from IEE 8.2 to IEE 10.x shall be included in the Reconciliation Report. | IEE | Functional | 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Bridge meter Meter Model: I2H Meter Phase: Single Consumption Type: Residential | Validate IEE Daily Reconciliantion report successfully reports on auto sync conditions of the following system: CRS MDMS MRAS, also IEE and then other systems also included. In some cases, those reports extracts are used as inputs to other processes that do automatic clean up. There are not changes for the current functionality other than the frequency changes from weekly to daily @7:00 AM Mountain time and that all customers from 8.2 are included in 10.x. Report Path: Z:\\IEE\QA\Data\Export\CustomReports\IEEReconciliationReport\Archive.

## Cellnet MN WI_Script
Test Case/Script Name | Test Case/Script Description | Application | Test Type | Test Case Precondition | Test Case Expected Result | Test Script Step: User Action | Test Script Step: Expected Result
AMIW9_FG9_04.03.01.02.11.12_001 Interval Data Available Report | 04.03.01.02.11.09.FR02 IEE 10.x shall have Interval data available reports driven by group of meters by cycle. 04.03.01.02.11.12.FR10 The Interval Data Available Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Interval Data Available Report generated Weekly for the meter converted from IEE8.2 to IEE10.X for the Service Point IDs that were intended for testing with the following fields inside the report: Report start date, report end date, and time zone Service point description Service point channel number UOM Start/end date Recording device ID Source meter ID Account number Customer ID and name Route Premise Formula are available driven by group of meters by cycle.
AMIW9_FG9_04.03.01.02.11.12_002 Coincident/Noncoincident Peak report | 04.03.01.02.11.09.FR01 The Coincidental, Non-Coincidental Peak Report shall work for formula channels and dynamic groups set up for customers converted from IEE 8.2 to IEE 10.x 04.03.01.02.11.12.FR19 The Coincident/Noncoincident Peak report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 MN Static group in IEE 10.x Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN Static group in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Coincident/Noncoincident Peak Report generated Daily and the report provides interval-by-interval demand, consumption, and pulse data for each contributor to an aggregated channel. Report Path: Meter Data Managment/Reports/Analytical Reports
AMIW9_FG9_04.03.01.02.11_003 Commercial Ops Report for Customers converted from IEE 8.2 to IEE 10.x | 04.03.01.02.11.12.FR13 The Commercial Ops Report shall be built in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | FR | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Commrcial 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Commrcial | Validate successful interval data available report for a specified list of commercial customers converted from IEE 8.2 to IEE 10.x. Report should be generated every Saturday at 2:00 PM mountain time. The report provides: -A Data Driven Schedule (DDS) wherein Occurrences is set up to run every Saturday at 2:00 PM Mountain Time. -An MV90 Spreadsheet Export task in IEE 10.x, runs on a weekly basis -KWh interval readings with passed, manually accepted or warn reading statuses -Raw readings would be rounded up to 4 decimals -The list of service point IDs being run under this schedule would then be added to the Cycle Data. -Would contain interval readings from the seed time (last export date) up to the next scheduled occurrence. Report path: \\fsmcplc11\SPF\PSCO\PSCO_ImportExport\Test\Adapt2\IEEFiles\CommOps
AMIW9_FG9_04.03.01.02.11.12_004 Engineering Units Report | 04.03.01.02.11.12.FR07 The Engineering Units Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. The result should be the same in 10.x as they were in 8.2 | IEE | Functional | 1 MN Dynamic group in IEE 10.x Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN Dynamic group in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validate successful Engineering report Designed for use by Commercial & Industrial implementations, shows engineering unit quantities of demand, consumption, or pulses for selected interval channels. The report provides: The daily high, daily low, and daily total or average in engineering units for each channel for the selected time period. Load Factor is calculated for kWh channels. Report Path: Meter Data Managment/Reports/Analytical Reports/Engineering Units
AMIW9_FG9_04.03.01.02.11.11._005 Cycle Due Date Report | 04.03.01.02.11.11.FR01 The Cycle Due Date Report shall be enabled in MV90xi for customers converted from IEE 8.2 to IEE 10.x | IEE | Functional | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validate Cycle Due Date report that is designed for use by C&I implemintation. The report returns all service point channels for the following items: Retrieved on cycles during a specified date range, but which do not have the expected data. Exported on cycle during a specified date range, but which did not have the data exported. Aggregated on cycle during a specified date range, but for which data was not aggregated. Report Path: Meter Data Managment/Reports/Analytical Reports/ Cycle Due Date
AMIW9_FG9_04.03.01.02.11.12_008 Data Summary Report | 04.03.01.02.11.12.FR11 The Data Summary Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Report: Data Summary Report Purpose: Provides a summary of the various translation actions performed on individual IEE data files. It can run for a single service point channel, a reading group, or a date range. Specifying a date range provides data on only those reading groups that contain the dates you set, while leaving the date range blank results in a report on all data for the specified service point channel or reading group. If IEE runs the export template on-cycle, then the report displays the most recently run export template (organized by service point channel). However, IEE does not display the export template for manually generated exports. Supported export template types include MV-90 Mainframe Export, MV-90 Spreadsheet Export, and Lodestar Enhanced Export Frequency: Daily? Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report Validate: -Export template types include MV-90 Mainframe Export, -MV-90 Spreadsheet Export, -Lodestar Enhanced Export.
AMIW9_FG9_04.03.01.02.11.12_009 Interval Statuses Report | 04.03.01.02.11.12.FR11 The Interval Statuses Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validate Interval Statuses Report is designed for use by all meter implementations. Report shows: -This report is design to work for all meter implementations. The report shows the interval and/or validation status of interval data within the requested date range. -This report is designed to function as a spot report for a single service point or a small group of service points (<100). Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report
AMIW9_FG9_04.03.01.02.11.12_010 PFRS process | 04.03.01.02.11.12.FR06 The PFRS process shall be replicated in IEE 10.x 04.03.01.02.11.12.FR02 Interval data exports in .csv format for legacy non-AMI meters converted from IEE 8.2 to IEE 10.x shall be produced based on the CRS input file | IEE | Functional | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validate that 9 reports for PFRS are generated, summarizing usage and how the customer is performing compared to the parameters of their rates. Report provides: -An input file from CRS for debtors or premises that are needing review will be created. The reports are generated from this file. -The PFRS process is executed once per year in the late October timeframe. -The PFRS is a mostly automated process. Only two initial steps are executed manually. -The process is really only 2 scripts, one PowerShell scripts and one perl script that each exist on the IEE server in F:\SPF\PowerShellScripts -The same IEE 8.2 batch script replicatred in IEE 10.x will be used to generate the 9 reports that are part of the PFRS process -The csv file(s) must be accessible for download by IEE support team -As meters are exchanged to AMI meters, this process will still apply Required for yearly PFRS process The csv file(s) must be accessible for download by IEE support team As meters are exchanged to AMI meters, this process will still apply
AMIW9_FG9_04.03.01.02.11.14._011 IEE Reconciliation Report | 04.03.01.02.11.14.FR01 Customers converted from IEE 8.2 to IEE 10.x shall be included in the Reconciliation Report. | IEE | Functional | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validate IEE Daily Reconciliantion report successfully reports on auto sync conditions of the following system: CRS MDMS MRAS, also IEE and then other systems also included. In some cases, those reports extracts are used as inputs to other processes that do automatic clean up. There are not changes for the current functionality other than the frequency changes from weekly to daily @7:00 AM Mountain time and that all customers from 8.2 are included in 10.x. Report Path: Z:\\IEE\QA\Data\Export\CustomReports\IEEReconciliationReport\Archive.
AMIW9_FG9_04.03.01.02.11.12_001 Interval Data Available Report | 04.03.01.02.11.09.FR02 IEE 10.x shall have Interval data available reports driven by group of meters by cycle. 04.03.01.02.11.12.FR10 The Interval Data Available Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Interval Data Available Report generated Weekly for the meter converted from IEE8.2 to IEE10.X for the Service Point IDs that were intended for testing with the following fields inside the report: Report start date, report end date, and time zone Service point description Service point channel number UOM Start/end date Recording device ID Source meter ID Account number Customer ID and name Route Premise Formula are available driven by group of meters by cycle.
AMIW9_FG9_04.03.01.02.11.12_002 Coincident/Noncoincident Peak report | 04.03.01.02.11.09.FR01 The Coincidental, Non-Coincidental Peak Report shall work for formula channels and dynamic groups set up for customers converted from IEE 8.2 to IEE 10.x 04.03.01.02.11.12.FR19 The Coincident/Noncoincident Peak report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 WI Static group in IEE 10.x Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI Static group in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Coincident/Noncoincident Peak Report generated Daily and the report provides interval-by-interval demand, consumption, and pulse data for each contributor to an aggregated channel. Report Path: Meter Data Managment/Reports/Analytical Reports
AMIW9_FG9_04.03.01.02.11_003 Commercial Ops Report for Customers converted from IEE 8.2 to IEE 10.x | 04.03.01.02.11.12.FR13 The Commercial Ops Report shall be built in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | FR | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Commrcial 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Commrcial | Validate successful interval data available report for a specified list of commercial customers converted from IEE 8.2 to IEE 10.x. Report should be generated every Saturday at 2:00 PM mountain time. The report provides: -A Data Driven Schedule (DDS) wherein Occurrences is set up to run every Saturday at 2:00 PM Mountain Time. -An MV90 Spreadsheet Export task in IEE 10.x, runs on a weekly basis -KWh interval readings with passed, manually accepted or warn reading statuses -Raw readings would be rounded up to 4 decimals -The list of service point IDs being run under this schedule would then be added to the Cycle Data. -Would contain interval readings from the seed time (last export date) up to the next scheduled occurrence. Report path: \\fsmcplc11\SPF\PSCO\PSCO_ImportExport\Test\Adapt2\IEEFiles\CommOps
AMIW9_FG9_04.03.01.02.11.12_004 Engineering Units Report | 04.03.01.02.11.12.FR07 The Engineering Units Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. The result should be the same in 10.x as they were in 8.2 | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validate successful Engineering report Designed for use by Commercial & Industrial implementations, shows engineering unit quantities of demand, consumption, or pulses for selected interval channels. The report provides: The daily high, daily low, and daily total or average in engineering units for each channel for the selected time period. Load Factor is calculated for kWh channels. Report Path: Meter Data Managment/Reports/Analytical Reports/Engineering Units
AMIW9_FG9_04.03.01.02.11.11._005 Cycle Due Date Report | 04.03.01.02.11.11.FR01 The Cycle Due Date Report shall be enabled in MV90xi for customers converted from IEE 8.2 to IEE 10.x | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validate Cycle Due Date report that is designed for use by C&I implemintation. The report returns all service point channels for the following items: Retrieved on cycles during a specified date range, but which do not have the expected data. Exported on cycle during a specified date range, but which did not have the data exported. Aggregated on cycle during a specified date range, but for which data was not aggregated. Report Path: Meter Data Managment/Reports/Analytical Reports/ Cycle Due Date
AMIW9_FG9_04.03.01.02.11.12_008 Data Summary Report | 04.03.01.02.11.12.FR11 The Data Summary Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Report: Data Summary Report Purpose: Provides a summary of the various translation actions performed on individual IEE data files. It can run for a single service point channel, a reading group, or a date range. Specifying a date range provides data on only those reading groups that contain the dates you set, while leaving the date range blank results in a report on all data for the specified service point channel or reading group. If IEE runs the export template on-cycle, then the report displays the most recently run export template (organized by service point channel). However, IEE does not display the export template for manually generated exports. Supported export template types include MV-90 Mainframe Export, MV-90 Spreadsheet Export, and Lodestar Enhanced Export Frequency: Daily? Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report Validate: -Export template types include MV-90 Mainframe Export, -MV-90 Spreadsheet Export, -Lodestar Enhanced Export.
AMIW9_FG9_04.03.01.02.11.12_009 Interval Statuses Report | 04.03.01.02.11.12.FR11 The Interval Statuses Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validate Interval Statuses Report is designed for use by all meter implementations. Report shows: -This report is design to work for all meter implementations. The report shows the interval and/or validation status of interval data within the requested date range. -This report is designed to function as a spot report for a single service point or a small group of service points (<100). Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report
AMIW9_FG9_04.03.01.02.11.12_010 PFRS process | 04.03.01.02.11.12.FR06 The PFRS process shall be replicated in IEE 10.x 04.03.01.02.11.12.FR02 Interval data exports in .csv format for legacy non-AMI meters converted from IEE 8.2 to IEE 10.x shall be produced based on the CRS input file | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validate that 9 reports for PFRS are generated, summarizing usage and how the customer is performing compared to the parameters of their rates. Report provides: -An input file from CRS for debtors or premises that are needing review will be created. The reports are generated from this file. -The PFRS process is executed once per year in the late October timeframe. -The PFRS is a mostly automated process. Only two initial steps are executed manually. -The process is really only 2 scripts, one PowerShell scripts and one perl script that each exist on the IEE server in F:\SPF\PowerShellScripts -The same IEE 8.2 batch script replicatred in IEE 10.x will be used to generate the 9 reports that are part of the PFRS process -The csv file(s) must be accessible for download by IEE support team -As meters are exchanged to AMI meters, this process will still apply Required for yearly PFRS process The csv file(s) must be accessible for download by IEE support team As meters are exchanged to AMI meters, this process will still apply
AMIW9_FG9_04.03.01.02.11.14._011 IEE Reconciliation Report | 04.03.01.02.11.14.FR01 Customers converted from IEE 8.2 to IEE 10.x shall be included in the Reconciliation Report. | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI Cellnet meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI Cellnet meter Meter Phase: Single Consumption Type: Residential | Validate IEE Daily Reconciliantion report successfully reports on auto sync conditions of the following system: CRS MDMS MRAS, also IEE and then other systems also included. In some cases, those reports extracts are used as inputs to other processes that do automatic clean up. There are not changes for the current functionality other than the frequency changes from weekly to daily @7:00 AM Mountain time and that all customers from 8.2 are included in 10.x. Report Path: Z:\\IEE\QA\Data\Export\CustomReports\IEEReconciliationReport\Archive.

## MV90 CO MN WI TX_Script
Test Case/Script Name | Test Case/Script Description | Application | Test Type | Test Case Precondition | Test Case Expected Result | Test Script Step: User Action | Test Script Step: Expected Result
AMIW9_FG9_04.03.01.02.11.12_001 Interval Data Available Report | 04.03.01.02.11.09.FR02 IEE 10.x shall have Interval data available reports driven by group of meters by cycle. 04.03.01.02.11.12.FR10 The Interval Data Available Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Interval Data Available Report generated Weekly for the meter converted from IEE8.2 to IEE10.X for the Service Point IDs that were intended for testing with the following fields inside the report: Report start date, report end date, and time zone Service point description Service point channel number UOM Start/end date Recording device ID Source meter ID Account number Customer ID and name Route Premise Formula are available driven by group of meters by cycle.
AMIW9_FG9_04.03.01.02.11.12_002 Coincident/Noncoincident Peak report | 04.03.01.02.11.09.FR01 The Coincidental, Non-Coincidental Peak Report shall work for formula channels and dynamic groups set up for customers converted from IEE 8.2 to IEE 10.x 04.03.01.02.11.12.FR19 The Coincident/Noncoincident Peak report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 CO Static group in IEE 10.x Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO Static group in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Coincident/Noncoincident Peak Report generated Daily and the report provides interval-by-interval demand, consumption, and pulse data for each contributor to an aggregated channel. Report Path: Meter Data Managment/Reports/Analytical Reports
AMIW9_FG9_04.03.01.02.11_003 Commercial Ops Report for Customers converted from IEE 8.2 to IEE 10.x | 04.03.01.02.11.12.FR13 The Commercial Ops Report shall be built in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Commercial 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Commercial | Validate successful interval data available report for a specified list of commercial customers converted from IEE 8.2 to IEE 10.x. Report should be generated every Saturday at 2:00 PM mountain time. The report provides: -A Data Driven Schedule (DDS) wherein Occurrences is set up to run every Saturday at 2:00 PM Mountain Time. -An MV90 Spreadsheet Export task in IEE 10.x, runs on a weekly basis -KWh interval readings with passed, manually accepted or warn reading statuses -Raw readings would be rounded up to 4 decimals -The list of service point IDs being run under this schedule would then be added to the Cycle Data. -Would contain interval readings from the seed time (last export date) up to the next scheduled occurrence. Report path: \\fsmcplc11\SPF\PSCO\PSCO_ImportExport\Test\Adapt2\IEEFiles\CommOps
AMIW9_FG9_04.03.01.02.11.12_004 Engineering Units Report | 04.03.01.02.11.12.FR07 The Engineering Units Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. The result should be the same in 10.x as they were in 8.2 | IEE | Functional | 1 CO Dynamic group in IEE 10.x Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO Dynamic group in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate successful Engineering report Designed for use by Commercial & Industrial implementations, shows engineering unit quantities of demand, consumption, or pulses for selected interval channels. The report provides: The daily high, daily low, and daily total or average in engineering units for each channel for the selected time period. Load Factor is calculated for kWh channels. Report Path: Meter Data Managment/Reports/Analytical Reports/Engineering Units
AMIW9_FG9_04.03.01.02.11.11._005 Cycle Due Date Report | 04.03.01.02.11.11.FR01 The Cycle Due Date Report shall be enabled in MV90xi for customers converted from IEE 8.2 to IEE 10.x | IEE | Functional | 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate Cycle Due Date report that is designed for use by C&I implemintation. The report returns all service point channels for the following items: Retrieved on cycles during a specified date range, but which do not have the expected data. Exported on cycle during a specified date range, but which did not have the data exported. Aggregated on cycle during a specified date range, but for which data was not aggregated. Report Path: Meter Data Managment/Reports/Analytical Reports/ Cycle Due Date
AMIW9_FG9_CO_04.03.01.02.11.12_007 TOU Report | 04.03.01.02.11.12.FR09 The TOU Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate TOU Reports are designed for use by all interval meter implementations. Report provides: consumption and demand by Time of Use (TOU) period for interval data. Report Path: Meter Data Managment/Reports/Analytical Reports/Time Of Use
AMIW9_FG9_04.03.01.02.11.12_008 Data Summary Report | 04.03.01.02.11.12.FR11 The Data Summary Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Report: Data Summary Report Purpose: Provides a summary of the various translation actions performed on individual IEE data files. It can run for a single service point channel, a reading group, or a date range. Specifying a date range provides data on only those reading groups that contain the dates you set, while leaving the date range blank results in a report on all data for the specified service point channel or reading group. If IEE runs the export template on-cycle, then the report displays the most recently run export template (organized by service point channel). However, IEE does not display the export template for manually generated exports. Supported export template types include MV-90 Mainframe Export, MV-90 Spreadsheet Export, and Lodestar Enhanced Export Frequency: Daily? Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report Validate: -Export template types include MV-90 Mainframe Export, -MV-90 Spreadsheet Export, -Lodestar Enhanced Export.
AMIW9_FG9_04.03.01.02.11.12_009 Interval Statuses Report | 04.03.01.02.11.12.FR11 The Interval Statuses Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate Interval Statuses Report is designed for use by all meter implementations. Report shows: -This report is design to work for all meter implementations. The report shows the interval and/or validation status of interval data within the requested date range. -This report is designed to function as a spot report for a single service point or a small group of service points (<100). Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report
AMIW9_FG9_04.03.01.02.11.12_010 PFRS process | 04.03.01.02.11.12.FR06 The PFRS process shall be replicated in IEE 10.x 04.03.01.02.11.12.FR02 Interval data exports in .csv format for legacy non-AMI meters converted from IEE 8.2 to IEE 10.x shall be produced based on the CRS input file | IEE | Functional | 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate that 9 reports for PFRS are generated, summarizing usage and how the customer is performing compared to the parameters of their rates. Report provides: -An input file from CRS for debtors or premises that are needing review will be created. The reports are generated from this file. -The PFRS process is executed once per year in the late October timeframe. -The PFRS is a mostly automated process. Only two initial steps are executed manually. -The process is really only 2 scripts, one PowerShell scripts and one perl script that each exist on the IEE server in F:\SPF\PowerShellScripts -The same IEE 8.2 batch script replicatred in IEE 10.x will be used to generate the 9 reports that are part of the PFRS process -The csv file(s) must be accessible for download by IEE support team -As meters are exchanged to AMI meters, this process will still apply Required for yearly PFRS process The csv file(s) must be accessible for download by IEE support team As meters are exchanged to AMI meters, this process will still apply
AMIW9_FG9_04.03.01.02.11.14._011 IEE Reconciliation Report | 04.03.01.02.11.14.FR01 Customers converted from IEE 8.2 to IEE 10.x shall be included in the Reconciliation Report. | IEE | Functional | 1 CO legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 CO legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90t meter Meter Phase: Single Consumption Type: Residential | Validate IEE Daily Reconciliantion report successfully reports on auto sync conditions of the following system: CRS MDMS MRAS, also IEE and then other systems also included. In some cases, those reports extracts are used as inputs to other processes that do automatic clean up. There are not changes for the current functionality other than the frequency changes from weekly to daily @7:00 AM Mountain time and that all customers from 8.2 are included in 10.x. Report Path: Z:\\IEE\QA\Data\Export\CustomReports\IEEReconciliationReport\Archive.
AMIW9_FG9_04.03.01.02.11.12_001 Interval Data Available Report | 04.03.01.02.11.09.FR02 IEE 10.x shall have Interval data available reports driven by group of meters by cycle. 04.03.01.02.11.12.FR10 The Interval Data Available Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Interval Data Available Report generated Weekly for the meter converted from IEE8.2 to IEE10.X for the Service Point IDs that were intended for testing with the following fields inside the report: Report start date, report end date, and time zone Service point description Service point channel number UOM Start/end date Recording device ID Source meter ID Account number Customer ID and name Route Premise Formula are available driven by group of meters by cycle.
AMIW9_FG9_04.03.01.02.11.12_002 Coincident/Noncoincident Peak report | 04.03.01.02.11.09.FR01 The Coincidental, Non-Coincidental Peak Report shall work for formula channels and dynamic groups set up for customers converted from IEE 8.2 to IEE 10.x 04.03.01.02.11.12.FR19 The Coincident/Noncoincident Peak report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 MN Static group in IEE 10.x Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN Static group in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Coincident/Noncoincident Peak Report generated Daily and the report provides interval-by-interval demand, consumption, and pulse data for each contributor to an aggregated channel. Report Path: Meter Data Managment/Reports/Analytical Reports
AMIW9_FG9_04.03.01.02.11_003 Commercial Ops Report for Customers converted from IEE 8.2 to IEE 10.x | 04.03.01.02.11.12.FR13 The Commercial Ops Report shall be built in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Commercial 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Commercial | Validate successful interval data available report for a specified list of commercial customers converted from IEE 8.2 to IEE 10.x. Report should be generated every Saturday at 2:00 PM mountain time. The report provides: -A Data Driven Schedule (DDS) wherein Occurrences is set up to run every Saturday at 2:00 PM Mountain Time. -An MV90 Spreadsheet Export task in IEE 10.x, runs on a weekly basis -KWh interval readings with passed, manually accepted or warn reading statuses -Raw readings would be rounded up to 4 decimals -The list of service point IDs being run under this schedule would then be added to the Cycle Data. -Would contain interval readings from the seed time (last export date) up to the next scheduled occurrence. Report path: \\fsmcplc11\SPF\PSCO\PSCO_ImportExport\Test\Adapt2\IEEFiles\CommOps
AMIW9_FG9_04.03.01.02.11.12_004 Engineering Units Report | 04.03.01.02.11.12.FR07 The Engineering Units Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. The result should be the same in 10.x as they were in 8.2 | IEE | Functional | 1 MN Dynamic group in IEE 10.x Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN Dynamic group in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate successful Engineering report Designed for use by Commercial & Industrial implementations, shows engineering unit quantities of demand, consumption, or pulses for selected interval channels. The report provides: The daily high, daily low, and daily total or average in engineering units for each channel for the selected time period. Load Factor is calculated for kWh channels. Report Path: Meter Data Managment/Reports/Analytical Reports/Engineering Units
AMIW9_FG9_04.03.01.02.11.11._005 Cycle Due Date Report | 04.03.01.02.11.11.FR01 The Cycle Due Date Report shall be enabled in MV90xi for customers converted from IEE 8.2 to IEE 10.x | IEE | Functional | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate Cycle Due Date report that is designed for use by C&I implemintation. The report returns all service point channels for the following items: Retrieved on cycles during a specified date range, but which do not have the expected data. Exported on cycle during a specified date range, but which did not have the data exported. Aggregated on cycle during a specified date range, but for which data was not aggregated. Report Path: Meter Data Managment/Reports/Analytical Reports/ Cycle Due Date
AMIW9_FG9_04.03.01.02.11.12_008 Data Summary Report | 04.03.01.02.11.12.FR11 The Data Summary Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Report: Data Summary Report Purpose: Provides a summary of the various translation actions performed on individual IEE data files. It can run for a single service point channel, a reading group, or a date range. Specifying a date range provides data on only those reading groups that contain the dates you set, while leaving the date range blank results in a report on all data for the specified service point channel or reading group. If IEE runs the export template on-cycle, then the report displays the most recently run export template (organized by service point channel). However, IEE does not display the export template for manually generated exports. Supported export template types include MV-90 Mainframe Export, MV-90 Spreadsheet Export, and Lodestar Enhanced Export Frequency: Daily? Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report Validate: -Export template types include MV-90 Mainframe Export, -MV-90 Spreadsheet Export, -Lodestar Enhanced Export.
AMIW9_FG9_04.03.01.02.11.12_009 Interval Statuses Report | 04.03.01.02.11.12.FR11 The Interval Statuses Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate Interval Statuses Report is designed for use by all meter implementations. Report shows: -This report is design to work for all meter implementations. The report shows the interval and/or validation status of interval data within the requested date range. -This report is designed to function as a spot report for a single service point or a small group of service points (<100). Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report
AMIW9_FG9_04.03.01.02.11.12_010 PFRS process | 04.03.01.02.11.12.FR06 The PFRS process shall be replicated in IEE 10.x 04.03.01.02.11.12.FR02 Interval data exports in .csv format for legacy non-AMI meters converted from IEE 8.2 to IEE 10.x shall be produced based on the CRS input file | IEE | Functional | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate that 9 reports for PFRS are generated, summarizing usage and how the customer is performing compared to the parameters of their rates. Report provides: -An input file from CRS for debtors or premises that are needing review will be created. The reports are generated from this file. -The PFRS process is executed once per year in the late October timeframe. -The PFRS is a mostly automated process. Only two initial steps are executed manually. -The process is really only 2 scripts, one PowerShell scripts and one perl script that each exist on the IEE server in F:\SPF\PowerShellScripts -The same IEE 8.2 batch script replicatred in IEE 10.x will be used to generate the 9 reports that are part of the PFRS process -The csv file(s) must be accessible for download by IEE support team -As meters are exchanged to AMI meters, this process will still apply Required for yearly PFRS process The csv file(s) must be accessible for download by IEE support team As meters are exchanged to AMI meters, this process will still apply
AMIW9_FG9_04.03.01.02.11.14._011 IEE Reconciliation Report | 04.03.01.02.11.14.FR01 Customers converted from IEE 8.2 to IEE 10.x shall be included in the Reconciliation Report. | IEE | Functional | 1 MN legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 MN legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90t meter Meter Phase: Single Consumption Type: Residential | Validate IEE Daily Reconciliantion report successfully reports on auto sync conditions of the following system: CRS MDMS MRAS, also IEE and then other systems also included. In some cases, those reports extracts are used as inputs to other processes that do automatic clean up. There are not changes for the current functionality other than the frequency changes from weekly to daily @7:00 AM Mountain time and that all customers from 8.2 are included in 10.x. Report Path: Z:\\IEE\QA\Data\Export\CustomReports\IEEReconciliationReport\Archive.
AMIW9_FG9_04.03.01.02.11.12_001 Interval Data Available Report | 04.03.01.02.11.09.FR02 IEE 10.x shall have Interval data available reports driven by group of meters by cycle. 04.03.01.02.11.12.FR10 The Interval Data Available Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Interval Data Available Report generated Weekly for the meter converted from IEE8.2 to IEE10.X for the Service Point IDs that were intended for testing with the following fields inside the report: Report start date, report end date, and time zone Service point description Service point channel number UOM Start/end date Recording device ID Source meter ID Account number Customer ID and name Route Premise Formula are available driven by group of meters by cycle.
AMIW9_FG9_04.03.01.02.11.12_002 Coincident/Noncoincident Peak report | 04.03.01.02.11.09.FR01 The Coincidental, Non-Coincidental Peak Report shall work for formula channels and dynamic groups set up for customers converted from IEE 8.2 to IEE 10.x 04.03.01.02.11.12.FR19 The Coincident/Noncoincident Peak report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 WI Static group in IEE 10.x Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI Static group in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Coincident/Noncoincident Peak Report generated Daily and the report provides interval-by-interval demand, consumption, and pulse data for each contributor to an aggregated channel. Report Path: Meter Data Managment/Reports/Analytical Reports
AMIW9_FG9_04.03.01.02.11_003 Commercial Ops Report for Customers converted from IEE 8.2 to IEE 10.x | 04.03.01.02.11.12.FR13 The Commercial Ops Report shall be built in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Commercial 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Commercial | Validate successful interval data available report for a specified list of commercial customers converted from IEE 8.2 to IEE 10.x. Report should be generated every Saturday at 2:00 PM mountain time. The report provides: -A Data Driven Schedule (DDS) wherein Occurrences is set up to run every Saturday at 2:00 PM Mountain Time. -An MV90 Spreadsheet Export task in IEE 10.x, runs on a weekly basis -KWh interval readings with passed, manually accepted or warn reading statuses -Raw readings would be rounded up to 4 decimals -The list of service point IDs being run under this schedule would then be added to the Cycle Data. -Would contain interval readings from the seed time (last export date) up to the next scheduled occurrence. Report path: \\fsmcplc11\SPF\PSCO\PSCO_ImportExport\Test\Adapt2\IEEFiles\CommOps
AMIW9_FG9_04.03.01.02.11.12_004 Engineering Units Report | 04.03.01.02.11.12.FR07 The Engineering Units Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. The result should be the same in 10.x as they were in 8.2 | IEE | Functional | 1 WI Dynamic group in IEE 10.x Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI Dynamic group in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate successful Engineering report Designed for use by Commercial & Industrial implementations, shows engineering unit quantities of demand, consumption, or pulses for selected interval channels. The report provides: The daily high, daily low, and daily total or average in engineering units for each channel for the selected time period. Load Factor is calculated for kWh channels. Report Path: Meter Data Managment/Reports/Analytical Reports/Engineering Units
AMIW9_FG9_04.03.01.02.11.11._005 Cycle Due Date Report | 04.03.01.02.11.11.FR01 The Cycle Due Date Report shall be enabled in MV90xi for customers converted from IEE 8.2 to IEE 10.x | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate Cycle Due Date report that is designed for use by C&I implemintation. The report returns all service point channels for the following items: Retrieved on cycles during a specified date range, but which do not have the expected data. Exported on cycle during a specified date range, but which did not have the data exported. Aggregated on cycle during a specified date range, but for which data was not aggregated. Report Path: Meter Data Managment/Reports/Analytical Reports/ Cycle Due Date
AMIW9_FG9_04.03.01.02.11.12_008 Data Summary Report | 04.03.01.02.11.12.FR11 The Data Summary Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Report: Data Summary Report Purpose: Provides a summary of the various translation actions performed on individual IEE data files. It can run for a single service point channel, a reading group, or a date range. Specifying a date range provides data on only those reading groups that contain the dates you set, while leaving the date range blank results in a report on all data for the specified service point channel or reading group. If IEE runs the export template on-cycle, then the report displays the most recently run export template (organized by service point channel). However, IEE does not display the export template for manually generated exports. Supported export template types include MV-90 Mainframe Export, MV-90 Spreadsheet Export, and Lodestar Enhanced Export Frequency: Daily? Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report Validate: -Export template types include MV-90 Mainframe Export, -MV-90 Spreadsheet Export, -Lodestar Enhanced Export.
AMIW9_FG9_04.03.01.02.11.12_009 Interval Statuses Report | 04.03.01.02.11.12.FR11 The Interval Statuses Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate Interval Statuses Report is designed for use by all meter implementations. Report shows: -This report is design to work for all meter implementations. The report shows the interval and/or validation status of interval data within the requested date range. -This report is designed to function as a spot report for a single service point or a small group of service points (<100). Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report
AMIW9_FG9_04.03.01.02.11.12_010 PFRS process | 04.03.01.02.11.12.FR06 The PFRS process shall be replicated in IEE 10.x 04.03.01.02.11.12.FR02 Interval data exports in .csv format for legacy non-AMI meters converted from IEE 8.2 to IEE 10.x shall be produced based on the CRS input file | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate that 9 reports for PFRS are generated, summarizing usage and how the customer is performing compared to the parameters of their rates. Report provides: -An input file from CRS for debtors or premises that are needing review will be created. The reports are generated from this file. -The PFRS process is executed once per year in the late October timeframe. -The PFRS is a mostly automated process. Only two initial steps are executed manually. -The process is really only 2 scripts, one PowerShell scripts and one perl script that each exist on the IEE server in F:\SPF\PowerShellScripts -The same IEE 8.2 batch script replicatred in IEE 10.x will be used to generate the 9 reports that are part of the PFRS process -The csv file(s) must be accessible for download by IEE support team -As meters are exchanged to AMI meters, this process will still apply Required for yearly PFRS process The csv file(s) must be accessible for download by IEE support team As meters are exchanged to AMI meters, this process will still apply
AMIW9_FG9_04.03.01.02.11.14._011 IEE Reconciliation Report | 04.03.01.02.11.14.FR01 Customers converted from IEE 8.2 to IEE 10.x shall be included in the Reconciliation Report. | IEE | Functional | 1 WI legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 WI legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90t meter Meter Phase: Single Consumption Type: Residential | Validate IEE Daily Reconciliantion report successfully reports on auto sync conditions of the following system: CRS MDMS MRAS, also IEE and then other systems also included. In some cases, those reports extracts are used as inputs to other processes that do automatic clean up. There are not changes for the current functionality other than the frequency changes from weekly to daily @7:00 AM Mountain time and that all customers from 8.2 are included in 10.x. Report Path: Z:\\IEE\QA\Data\Export\CustomReports\IEEReconciliationReport\Archive.
AMIW9_FG9_04.03.01.02.11.12_001 Interval Data Available Report | 04.03.01.02.11.09.FR02 IEE 10.x shall have Interval data available reports driven by group of meters by cycle. 04.03.01.02.11.12.FR10 The Interval Data Available Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 TX legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 TX legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Interval Data Available Report generated Weekly for the meter converted from IEE8.2 to IEE10.X for the Service Point IDs that were intended for testing with the following fields inside the report: Report start date, report end date, and time zone Service point description Service point channel number UOM Start/end date Recording device ID Source meter ID Account number Customer ID and name Route Premise Formula are available driven by group of meters by cycle.
AMIW9_FG9_04.03.01.02.11.12_002 Coincident/Noncoincident Peak report | 04.03.01.02.11.09.FR01 The Coincidental, Non-Coincidental Peak Report shall work for formula channels and dynamic groups set up for customers converted from IEE 8.2 to IEE 10.x 04.03.01.02.11.12.FR19 The Coincident/Noncoincident Peak report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 TX Static group in IEE 10.x Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 TX Static group in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validated Successfully that the Coincident/Noncoincident Peak Report generated Daily and the report provides interval-by-interval demand, consumption, and pulse data for each contributor to an aggregated channel. Report Path: Meter Data Managment/Reports/Analytical Reports
AMIW9_FG9_04.03.01.02.11_003 Commercial Ops Report for Customers converted from IEE 8.2 to IEE 10.x | 04.03.01.02.11.12.FR13 The Commercial Ops Report shall be built in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 TX legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Commercial 1 TX legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Commercial | Validate successful interval data available report for a specified list of commercial customers converted from IEE 8.2 to IEE 10.x. Report should be generated every Saturday at 2:00 PM mountain time. The report provides: -A Data Driven Schedule (DDS) wherein Occurrences is set up to run every Saturday at 2:00 PM Mountain Time. -An MV90 Spreadsheet Export task in IEE 10.x, runs on a weekly basis -KWh interval readings with passed, manually accepted or warn reading statuses -Raw readings would be rounded up to 4 decimals -The list of service point IDs being run under this schedule would then be added to the Cycle Data. -Would contain interval readings from the seed time (last export date) up to the next scheduled occurrence. Report path: \\fsmcplc11\SPF\PSCO\PSCO_ImportExport\Test\Adapt2\IEEFiles\CommOps
AMIW9_FG9_04.03.01.02.11.12_004 Engineering Units Report | 04.03.01.02.11.12.FR07 The Engineering Units Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. The result should be the same in 10.x as they were in 8.2 | IEE | Functional | 1 TX Dynamic group in IEE 10.x Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 TX Dynamic group in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate successful Engineering report Designed for use by Commercial & Industrial implementations, shows engineering unit quantities of demand, consumption, or pulses for selected interval channels. The report provides: The daily high, daily low, and daily total or average in engineering units for each channel for the selected time period. Load Factor is calculated for kWh channels. Report Path: Meter Data Managment/Reports/Analytical Reports/Engineering Units
AMIW9_FG9_04.03.01.02.11.11._005 Cycle Due Date Report | 04.03.01.02.11.11.FR01 The Cycle Due Date Report shall be enabled in MV90xi for customers converted from IEE 8.2 to IEE 10.x | IEE | Functional | 1 TX legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 TX legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate Cycle Due Date report that is designed for use by C&I implemintation. The report returns all service point channels for the following items: Retrieved on cycles during a specified date range, but which do not have the expected data. Exported on cycle during a specified date range, but which did not have the data exported. Aggregated on cycle during a specified date range, but for which data was not aggregated. Report Path: Meter Data Managment/Reports/Analytical Reports/ Cycle Due Date
AMIW9_FG9_TX_04.03.01.02.11.12_006 KVA conversion | 04.03.01.02.11.12.FR08 The KVA Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | TX premise with active KVAR 1 TX legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Model: I2H Meter Phase: Single Meter State: Active Consumption Type: Residential 1 TX legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Model: I2H Meter Phase: Single Consumption Type: Residential | Validate that the KVA reports are designed for use by C&I implementations. Reports provide: Interval-by-interval daily, detail, or peak summary report. Using the channels assigned to the KVA report group, the report displays kW, KVAR, KVA, Power Factor, Volts, or Amps. You can also select whether to apply losses to the standard report columns, show losses in separate columns, or both. Report Path: Meter Data Managment/Reports/Analytical Reports/KVA report
AMIW9_FG9_04.03.01.02.11.12_008 Data Summary Report | 04.03.01.02.11.12.FR11 The Data Summary Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 TX legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 TX legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Report: Data Summary Report Purpose: Provides a summary of the various translation actions performed on individual IEE data files. It can run for a single service point channel, a reading group, or a date range. Specifying a date range provides data on only those reading groups that contain the dates you set, while leaving the date range blank results in a report on all data for the specified service point channel or reading group. If IEE runs the export template on-cycle, then the report displays the most recently run export template (organized by service point channel). However, IEE does not display the export template for manually generated exports. Supported export template types include MV-90 Mainframe Export, MV-90 Spreadsheet Export, and Lodestar Enhanced Export Frequency: Daily? Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report Validate: -Export template types include MV-90 Mainframe Export, -MV-90 Spreadsheet Export, -Lodestar Enhanced Export.
AMIW9_FG9_04.03.01.02.11.12_009 Interval Statuses Report | 04.03.01.02.11.12.FR11 The Interval Statuses Report shall be enabled in IEE 10.x for customers converted from IEE 8.2 to IEE 10.x. | IEE | Functional | 1 TX legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 TX legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate Interval Statuses Report is designed for use by all meter implementations. Report shows: -This report is design to work for all meter implementations. The report shows the interval and/or validation status of interval data within the requested date range. -This report is designed to function as a spot report for a single service point or a small group of service points (<100). Report Path: Meter Data Managment/Reports/Operational Reports/Data summary report
AMIW9_FG9_04.03.01.02.11.12_010 PFRS process | 04.03.01.02.11.12.FR06 The PFRS process shall be replicated in IEE 10.x 04.03.01.02.11.12.FR02 Interval data exports in .csv format for legacy non-AMI meters converted from IEE 8.2 to IEE 10.x shall be produced based on the CRS input file | IEE | Functional | 1 TX legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 TX legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90 meter Meter Phase: Single Consumption Type: Residential | Validate that 9 reports for PFRS are generated, summarizing usage and how the customer is performing compared to the parameters of their rates. Report provides: -An input file from CRS for debtors or premises that are needing review will be created. The reports are generated from this file. -The PFRS process is executed once per year in the late October timeframe. -The PFRS is a mostly automated process. Only two initial steps are executed manually. -The process is really only 2 scripts, one PowerShell scripts and one perl script that each exist on the IEE server in F:\SPF\PowerShellScripts -The same IEE 8.2 batch script replicatred in IEE 10.x will be used to generate the 9 reports that are part of the PFRS process -The csv file(s) must be accessible for download by IEE support team -As meters are exchanged to AMI meters, this process will still apply Required for yearly PFRS process The csv file(s) must be accessible for download by IEE support team As meters are exchanged to AMI meters, this process will still apply
AMIW9_FG9_04.03.01.02.11.14._011 IEE Reconciliation Report | 04.03.01.02.11.14.FR01 Customers converted from IEE 8.2 to IEE 10.x shall be included in the Reconciliation Report. | IEE | Functional | 1 TX legacy Non-AMI Meter Premise in IEE 10.x with a 4-digit register Meter Type: Non-AMI MV90 meter Meter Phase: Single Meter State: Active Consumption Type: Residential 1 TX legacy Non-AMI Meter Premise in IEE 8.2 Meter Type: Non-AMI MV90t meter Meter Phase: Single Consumption Type: Residential | Validate IEE Daily Reconciliantion report successfully reports on auto sync conditions of the following system: CRS MDMS MRAS, also IEE and then other systems also included. In some cases, those reports extracts are used as inputs to other processes that do automatic clean up. There are not changes for the current functionality other than the frequency changes from weekly to daily @7:00 AM Mountain time and that all customers from 8.2 are included in 10.x. Report Path: Z:\\IEE\QA\Data\Export\CustomReports\IEEReconciliationReport\Archive.